## Slide 1: Black-Box and Grey-Box Modeling of Buildings
Ninad Gaikwad, Dr. Anamika Dubey and Dr. Anjan Bose
Energy Systems Innovation Center,
Electrical Engineering and Computer Science,
Washington State University
CPS Meeting
06/19/2023

## Slide 2: Motivation

## Slide 3
Motivation – Building Energy Consumption
Residential Buildings: 22% of Energy Usage (2022)
Commercial Buildings: 18% of Energy Usage (2022)
From EIA
Commercial Buildings: 41% Energy for HVAC
Residential Buildings: 51% Energy for HVAC (2015)

## Slide 4
Motivation – Building as a Flexible Grid Edge Asset
Building 1
Building 2
Building i
Building n
Occupant Behavior
Ambient Weather
Ancillary Services to Grid
Energy Cost Reduction
Maintaining Occupant Comfort
Weather Forecast
Occupant Model
Load Forecast
Thermal Model
Controller
Actions
Feedback
Aggregator

## Slide 5: Models

## Slide 6
Building Model Schematic
Occupant Behavior
Ambient Weather
Solar PV
Battery Storage
Electric Vehicles
HVAC Load
Other Electric Load
Building Thermal Model
Ancillary Services to Grid
Energy Cost Reduction
Maintaining Occupant Comfort

## Slide 7
Building Thermal Model – Continuous Time
RC Network Model for Building
RC Network Model ODE
Matrix-Vector Representation for 1 Building
Matrix-Vector Representation for all Buildings

## Slide 8
HVAC System – Detailed Schematic

## Slide 9
Modelling Landscape
Energy Plus
Spawn of Energy Plus
Modellica – IBPSA
BOPTEST
CDIM
BIM
DESTEST
Fluent
COMSOL
ANSYS
Multiphysics
OpenFoam
TrnSys
IDA-ICE
ESP-r
Clim2000
BSim
BUILDOPT-VIE
SPARK
WUFI Plus
CFD Approach – 3D
Zonal Approach – 2D
Nodal Approach – 1D

## Slide 10
Modelling Landscape
Energy Plus
HELICS
Spawn of Energy Plus
Modellica – IBPSA
BOPTEST
CDIM
BIM
DESTEST
GridLab-D
PowerDistribution.jl
OpenDss
OpyPlus.py
EnergyPlusAPI.py
OpenDSSDirect.py
PYHelics.py

## Slide 11
Model Discretization
Euler Method
Runge-Kutta Method
Zero-Order Hold

## Slide 12: Black Box Modeling

## Slide 13
Building Modeling - Workflow
13
PNNL Buildings
Database
Building IDF File
Weather EPW File
Input Data
HVAC Loads
Zone Temperatures
Output Data
Zone Humidity
AHU Outputs
AHU Inputs
AHU Data
Model Estimation – Gray-box
AHU Gray-box Model
Model Estimation – Gray-box
Model Estimation – Black-box
Building Black-box Model
Building Gray-box Model
Occupant Equipment Schedules
Outside Temperature Humidity Irradiance
Processed Input Data
Average Building Geometry

## Slide 14
Modeling
Thermal Dynamics
HVAC Power Consumption
Solar Heat Gain Models
Internal Heat Gain Models
Complete ANN Building Model

## Slide 15
Zone Aggregation Model
Aggregation
Aggregated Thermal Discrete Model
Aggregated Thermal Discrete ANN Model

## Slide 16
Next Time-Step Zone Temperature
ANN Model
Current Time-Step Zone Temperature
Output
Current Ambient Temperature
Input
Zone Internal Radiant/Convective Heat Gains
Zone Solar Radiation Het Gain
Zone HVAC Heating/Cooling Heat Gain
Building Thermal Modeling – ANN Approach I

## Slide 17
Building Thermal Modeling – ANN Approach II

## Slide 18
Results – Zone Temperatures

## Slide 19
Results – Zone HVAC Power Consumption

## Slide 20
Key Takeaways for Black-Box Modeling
1. Easy to setup
2. Opensource tools like Pytorch and Tensorflow do the heavy lifting
3. Most effort is required in data collection and processing
4. Models are not interpretable
5. Models are not Convex – Less useful for control purposes

## Slide 21: Grey-Box Modeling

## Slide 22
Naïve Problem Solution – Noise Processes not considered

## Slide 23
Bayesian Problem Setup
Discrete Stochastic ODEs - Models
Data
Unknown
Known
Full Posterior

## Slide 24
Bayesian – Filtering and Smoothing
Filtering
Smoothing
Prediction Step:
Update Step:
Prediction Step:
Update Step:

## Slide 25
Bayesian – Filtering and Smoothing – Kalman Filter
Filtering
Smoothing
Prediction Step:
Update Step:
Prediction Step:
Update Step:

## Slide 26
A Zoo of Bayesian Filters and Smoothers
Filters Smoothers
Exact Gaussian
Gaussian Approximation
Non-Gaussian Approximation
Kalman Filter/Smoother
Extended Kalman Filter/Smoother
Unscented Kalman Filter/Smoother
Gaussian Filter/Smoother
Particle Filter Smoother
Linear System
Nonlinear System

## Slide 27
Grey-Box Modeling Landscape
Bayesian Framework
Filtering/Smoothing Algorithms Algorithms
Maximum Likelihood Estimation (MLE)
Full Posterior
Batch Estimation
Maximum A Posteriori (MAP)
Expectation Maximization (EM)
Bayesian Filter – State Augmentation

## Slide 28
Bayesian Filter - State Augmentation
Model
Model – With Parameter Dynamics
Model – With Parameter Dynamics and Noise

## Slide 29
Batch Estimation
Full Posterior
Batch Estimation -NLP

## Slide 30: Model for RL Training

## Slide 31
Possible RL Training Architectures
RC-Network Based Model
ANN-Based Model
EnergyPlus Model
Local Controller
Local Controller
Local Operation Sequences
RL Agent
Environment
State/Reward
Action

## Slide 32: Questions?